## Blank Template
A L T A M E D I C A I N C O R P O R A T E D Medical Products You Can Trust!
CERTIFICATE OF CALIBRATION
Certificate Number: | [6 empty] | Date:
Performed by:
Company Name: |  | Altamedica Incorporated
Address: |  | 2nd Floor Masonic Temple Bldg. J.M. Basa Street, Iloilo City
Contact Number: |  | Tel#: (033) 508 0208 / (033) 333 1769, Fax#: (033) 508 0208
Customer:
Company Name:
Address:
Contact Number:
Equipment:
Equipment: | [5 empty] | Manufacturer:
Model: | [5 empty] | Manufacture Date:
Serial Number: | [5 empty] | Distributor:
As received: | [5 empty] | As Released:
Test Condition:
Room Temperature: | [5 empty] | Relative Humidity:
Performed at:
Methods and Materials:
Method(s): |  | Tri-Level Control Calibration
Procedure(s): |  | Fully Automated Chemistry Analyzer Work Instruction Manual
Material(s) used: |  | Description |  |  |  | Serial Number / Lot Number |  | Expiry
|  | Fluke 51-2 Thermometer |  |  |  | 36370220WS |  | N/A
Linear Human Multisera Control - N
Linear Human Multisera Control - A
Calibration Result:
Calibration Date: | [5 empty] | Calibration Due:
Mechanical | [5 empty] | Optical:
Conditions/Analysis:
This report may not be reproduced, except in full, without the written approval of the Technical Manager. The results reported herein apply only to the calibration of the item described above, and no limitations of use apply to the calibrated unit. Although the calibrated item meets the specifications and performance at the time of calibration, due to any number of factors, the recommended due date of the item calibrated does not imply continuing confidence to specifications during the recommended interval.
Performed by: | [6 empty] | Noted by:
Engr. Cris Ian H. Montero
Service Engineer | [6 empty] | Technical Manager
Optical and Mechanical Data
Certificate Number:
0
Pre - Calibration
Blank Absorbance Deviation
No. | Wavelength (nm) |  | Dark Current (<100) |  |  | Background(48000-62000) |  | Remarks
1 | 340 | [6 empty] | Fail
2 | 405 | [6 empty] | Fail
3 | 450 | [6 empty] | Fail
4 | 510 | [6 empty] | Fail
5 | 546 | [6 empty] | Fail
6 | 578 | [6 empty] | Fail
7 | 630 | [6 empty] | Fail
8 | 670 | [6 empty] | Fail
Light Intensty: |  |  |  | Tolerance: |  | 65 - 100% | Remarks: |  | Fail
Mechanical Data
Sample Probe X-Axis Position: |  |  |  |  | Sample Probe Y-Axis Position:
| Reagent Disk: |  |  |  |  | Reagent Disk:
| Sample Disk: |  |  |  |  | Sample Disk:
| Reaction Disk: |  |  |  |  | Reaction Disk:
| Wash Well: |  |  |  |  | Wash Well:
Mixing Bar Position
Cuvette:
Wash Well
Temperature
Reaction Temp.: |  |  |  | Tolerance: |  | 0.2 | Remarks: | Fail
Preheat Temp.: |  |  |  | Tolerance: |  | 0.2 | Remarks: | Fail
Post - Calibration
Blank Absorbance Deviation
No. | Wavelength (nm) |  | Dark Current (<100) |  |  | Background(48000-62000) |  | Remarks
1 | 340 | [6 empty] | Fail
2 | 405 | [6 empty] | Fail
3 | 450 | [6 empty] | Fail
4 | 510 | [6 empty] | Fail
5 | 546 | [6 empty] | Fail
6 | 578 | [6 empty] | Fail
7 | 630 | [6 empty] | Fail
8 | 670 | [6 empty] | Fail
Light Intensty: |  |  |  | Tolerance: |  | 65 - 100% | Remarks: |  | Fail
Mechanical Data
Sample Probe X-Axis Position: |  |  |  |  | Sample Probe Y-Axis Position:
| Reagent Disk: |  |  |  |  | Reagent Disk:
| Sample Disk: |  |  |  |  | Sample Disk:
| Reaction Disk: |  |  |  |  | Reaction Disk:
| Wash Well: |  |  |  |  | Wash Well:
Mixing Bar Position
Cuvette:
Wash Well
Temperature
Reaction Temp.: |  |  |  | Tolerance: |  | 0.2 | Remarks: | Fail
Preheat Temp.: |  |  |  | Tolerance: |  | 0.2 | Remarks: | Fail
Remarks
Performed by: | [6 empty] | Noted by:
0 | [6 empty] | Engr. Cris Ian H. Montero
Service Engineer | [6 empty] | Technical Manager
Note on C5: CERT NUMBER
Note on J5: Date Here!
Note on C31: Pass or Fail
Note on I31: Pass or Fail
Note on C32: REMARKS!
Note on D64: Pass or Fail
Note on I64: Pass or Fail
Note on D65: Pass or Fail
Note on I65: Pass or Fail
Note on D66: Pass or Fail
Note on I66: Pass or Fail
Note on D67: Pass or Fail
Note on I67: Pass or Fail
Note on D70: Pass or Fail
Note on D71: Pass or Fail
Note on D93: Pass or Fail
Note on I93: Pass or Fail
Note on D94: Pass or Fail
Note on I94: Pass or Fail
Note on D95: Pass or Fail
Note on I95: Pass or Fail
Note on D96: Pass or Fail
Note on I96: Pass or Fail
Note on D99: Pass or Fail
Note on D100: Pass or Fail