## Blank Template
A L T A M E D I C A I N C O R P O R A T E D Medical Products You Can Trust!
CERTIFICATE OF CALIBRATION
Certificate Number: |  | MB-DSC-200T-1518-202404 | [6 empty] | April 27, 2024
Performed by:
Company Name: |  | Altamedica Incorporated
Address: |  | 199R Dicen St., Brgy. Bantud, Lapaz, Iloilo City
Contact Number: |  | Tel#: (033) 508 0208 / (033) 333 1769, Fax#: (033) 508 0208
Customer:
Company Name: |  | Medicus Boracay
Address: |  | Boracay, Aklan
Contact Number: |  | N/A
Equipment:
Equipment Type: |  | Table Top Centrifuge |  |  |  | Manufacturer: |  | Linear
Model: |  | DSC-200T |  |  |  | Manufacture Date: |  | N/A
Serial Number: |  | CT2-23111518 |  |  |  | Distributor: |  | Digisystem Laboratory Instruments
As received: |  | In good condition |  |  |  | As Released: |  | In good condition
Test Condition:
Room Temperature: |  | 25 |  |  |  | Relative Humidity: |  | 40%
Performed at: |  | Altamedica Incorporated
Methods and Materials:
Method(s): |  | Non-contact speed measurement
Procedure(s): |  | Centrifuge Work Instruction Manual
Material(s) used: |  | YX360TRF Sanwa Multimeter |  |  |  | Serial Number: |  | N/A
|  | TKRT 20 SKF Tachometer |  |  |  | Serial Number: |  | 1818016
Calibration Result:
Calibration Date: |  | April 26, 2024 |  |  |  | Calibration Due: |  | April 26, 2025
Speed Test: |  | Passed |  |  |  | Timer Test: |  | Passed
Conditions/Analysis: |  | Machine is in good condition.
This report may not be reproduced, except in full, without the written approval of the Technical Manager. The results reported herein apply only to the calibration of the item described above, and no limitations of use apply to the calibrated unit. Although the calibrated item meets the specifications and performance at the time of calibration, due to any number of factors, the recommended due date of the item calibrated does not imply continuing confidence to specifications during the recommended interval.
Performed by: | [7 empty] | Noted by:
Joanna Faye B. Talagon | [7 empty] | Engr. Rey Christopher A. Alipe
Service Engineer/Technician | [7 empty] | Technical Manager
ANALYTICAL DATA
Certificate Number: MB-DSC-200T-1518-202404
April 27, 2024
Speed Test
Speed (rpm) | [7 empty] | Allowed Tolerance |  | Remarks
Rated Speed |  | Potentiometer Pos. |  | Expected Value |  | Measured Value
12000 |  | 25% |  | 750 rpm |  | N/A |  | 75 |  | N/A
|  | 50% |  | 1500 |  | N/A |  | 150 |  | N/A
|  | 75% |  | 2250 |  | N/A |  | 225 |  | N/A
|  | 100% |  | 3000 |  | 3018 |  | 300 |  | Pass
Timer Test
| Time (sec) |  |  |  | Difference |  | Allowed Tolerance |  | Remarks
| Set Time |  | Measured Time
| 10 |  | 10 |  | 0 |  | 1 |  | Pass
| 60 |  | 60 |  | 0 |  | 6 |  | Pass
| 120 |  | 123 |  | 3 |  | 12 |  | Pass
| 300 |  | 307 |  | 7 |  | 30 |  | Pass
Remarks
QC Passed! Results are within range.
Performed by: | [7 empty] | Noted by:
Joanna Faye B. Talagon | [7 empty] | Engr. Cris Ian H. Montero
Service Engineer | [7 empty] | Technical Manager
Note on C5: CERT NUMBER
Note on J5: Date Here!
Note on C29: Pass or Fail
Note on I29: Pass or Fail
Note on C30: REMARKS!