## Blank Template
A L T A M E D I C A I N C O R P O R A T E D Medical Products You Can Trust!
CERTIFICATE OF CALIBRATION
Certificate Number: | [7 empty] | Date:
Performed by:
Company Name: |  | Altamedica Incorporated
Address: |  | 2nd Floor Masonic Temple Bldg. J.M. Basa Street, Iloilo City
Contact Number: |  | Tel#: (033) 508 0208 / (033) 333 1769, Fax#: (033) 508 0208
Customer:
Company Name:
Address:
Contact Number:
Equipment:
Equipment Type: | [5 empty] | Manufacturer:
Model: | [5 empty] | Manufacture Date:
Serial Number: | [5 empty] | Distributor:
As received: | [5 empty] | As Released:
Test Condition:
Room Temperature: | [5 empty] | Relative Humidity:
Performed at:
Methods and Materials:
Method(s): |  | Tri-Level Control Calibration
Procedure(s): |  | Electrolytes Work Instruction Manual
Material(s) used: |  | Description |  |  |  | Serial Number / Lot Number |  |  | Expiry
|  | Fluke 51-2 Thermometer |  |  |  | 36370220WS |  |  | N/A
Cornley Linearity Control Level 1
Cornley Linearity Control Level 2
Cornley Linearity Control Level 3
Calibration Result:
Calibration Date: | [5 empty] | Calibration Due:
Speed Test: | [5 empty] | Timer Test:
Conditions/Analysis:
This report may not be reproduced, except in full, without the written approval of the Technical Manager. The results reported herein apply only to the calibration of the item described above, and no limitations of use apply to the calibrated unit. Although the calibrated item meets the specifications and performance at the time of calibration, due to any number of factors, the recommended due date of the item calibrated does not imply continuing confidence to specifications during the recommended interval.
Performed by: | [7 empty] | Noted by:
Engr. Cris Ian H. Montero
Service Engineer | [7 empty] | Technical Manager
ANALYTICAL DATA
Certificate Number:
Repeatability
Para. | Repeat | Measured (mmol/L) |  | Mean |  | SD |  | CV |  | Remarks
K | 1 | 4.4 |  | 4.37 |  | 0.026458 |  | 0.6054% |  | Pass
| 2 | 4.35
| 3 | 4.36
Na | 1 | 140.04 |  | 141.59 |  | 1.4206 |  | 1.003% |  | Pass
| 2 | 141.9
| 3 | 142.83
Cl | 1 |  |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
2
3
Ca | 1 |  |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
2
3
Li | 1 |  |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
2
3
pH | 1 |  |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
2
3
Pre-Calibration
I. Coefficient
| Parameter |  | Allowed Range |  | K | Na | Cl | Ca | pH | Li
| Slope |  | 0.70 ~ 1.30
| Intercept |  | -20 ~ +20
|  |  | Remarks |  | Fail | Fail | Fail | Fail | Fail | Fail
II. Control Data
Lot Number: | [6 empty] | Expiration Date:
|  | Parameters |  | Measured (mmol/L) |  | Target (mmol/L) |  | 2SD |  | Remarks
Level 1 |  | K | [7 empty] | Pass
|  | Na | [7 empty] | Pass
|  | CL | [7 empty] | Pass
|  | Ca | [7 empty] | Pass
|  | Li | [7 empty] | Pass
|  | pH | [7 empty] | Pass
Level 2 |  | K | [7 empty] | Pass
|  | Na | [7 empty] | Pass
|  | Cl | [7 empty] | Pass
|  | Ca | [7 empty] | Pass
|  | Li | [7 empty] | Pass
|  | pH | [7 empty] | Pass
Level 3 |  | K | [7 empty] | Pass
|  | Na | [7 empty] | Pass
|  | Cl | [7 empty] | Pass
|  | Ca | [7 empty] | Pass
|  | Li | [7 empty] | Pass
|  | pH | [7 empty] | Pass
Post-Calibration
I. Coefficient
| Parameter |  | Allowed Range |  | K | Na | Cl | Ca | pH | Li
| Slope |  | 0.70 ~ 1.30 | [6 empty] | N/A
| Intercept |  | -20 ~ +20
|  |  | Remarks |  | Fail | Fail | Fail | Fail | Fail | N/A
II. Control Data
Lot Number: | [6 empty] | Expiration Date:
|  | Parameters |  | Measured (mmol/L) |  | Target (mmol/L) |  | 2SD |  | Remarks
Level 1 |  | K | [7 empty] | Pass
|  | Na | [7 empty] | Pass
|  | CL | [7 empty] | Pass
|  | Ca | [7 empty] | Pass
|  | Li | [7 empty] | Pass
|  | pH | [7 empty] | Pass
Level 2 |  | K | [7 empty] | Pass
|  | Na | [7 empty] | Pass
|  | Cl | [7 empty] | Pass
|  | Ca | [7 empty] | Pass
|  | Li | [7 empty] | Pass
|  | pH | [7 empty] | Pass
Level 3 |  | K | [7 empty] | Pass
|  | Na | [7 empty] | Pass
|  | Cl | [7 empty] | Pass
|  | Ca | [7 empty] | Pass
|  | Li | [7 empty] | Pass
|  | pH | [7 empty] | Pass
Remarks
Performed by: | [7 empty] | Noted by:
Engr. Cris Ian H. Montero
Service Engineer | [7 empty] | Technical Manager