## Blank Template
A L T A M E D I C A I N C O R P O R A T E D Medical Products You Can Trust!
CERTIFICATE OF CALIBRATION
Certificate Number: | [5 empty] | Date:
Performed by:
Company Name: | Altamedica Incorporated
Address: | 2nd Floor Masonic Temple Bldg. J.M. Basa Street, Iloilo City
Contact Number: | Tel#: (033) 508 0208 / (033) 333 1769, Fax#: (033) 508 0208
Customer:
Company Name:
Address:
Contact Number:
Equipment:
Equipment: |  |  |  |  | Manufacturer:
Model: |  |  |  |  | Manufacture Date:
Serial Number: |  |  |  |  | Distributor:
As received: |  |  |  |  | As Released:
Test Condition:
Room Temperature: |  |  |  |  | Relative Humidity:
Performed at:
Methods and Materials:
Method(s): | Tri-Level Control Calibration
Procedure(s): | Fully Automated Chemistry Analyzer Work Instruction Manual
Material(s) used: | Description |  |  |  | Serial Number / Lot Number |  | Expiry
| Fluke 51-2 Thermometer |  |  |  | 36370220WS |  | N/A
Linear Human Multisera Control - N
Linear Human Multisera Control - A
Calibration Result:
Calibration Date: |  |  |  |  | Calibration Due:
Mechanical |  |  |  |  | Optical:
Conditions/Analysis:
This report may not be reproduced, except in full, without the written approval of the Technical Manager. The results reported herein apply only to the calibration of the item described above, and no limitations of use apply to the calibrated unit. Although the calibrated item meets the specifications and performance at the time of calibration, due to any number of factors, the recommended due date of the item calibrated does not imply continuing confidence to specifications during the recommended interval.
Performed by: | [5 empty] | Noted by:
Engr. Cris Ian H. Montero
Service Engineer | [5 empty] | Technical Manager
Mechanical Data
Certificate Number:
0
Pre - Calibration
Arm 1 Positions Panel |  | X |  | Y
Reagent R1
Reagent R2
Washing:
Cuvette Wheel:
Sample Cup:
Sample Tube:
Empty:
Wait:
Cuvette Wheel Cuvette No. 1:
Diluter Positions
Absolute Position: |  |  |  | Relative Position:
Temperature Control Panel
Reaction Temperature: |  |  |  | Reagent Disk Temperature:
External Reading:
Reading Test Panel
340nm Filter: |  |  |  | 578nm Filter:
405nm Filter |  |  |  | 630nm Filter:
492nm Filter: |  |  |  | 700nm Filter:
505nm Filter: |  |  |  | OFFSET:
546nm Filter: |  |  |  | Cuvette Wheel Cuvette No. 1:
Washing Station Panel |  | X |  | Y
Cuvette No. 1 Position:
Exempt Pumps: |  |  |  | Aspiration Pumps:
First Dispension Time:
Sensors
Cover: |  |  |  | Arm1 Home Diluter:
Home RGT: |  |  |  | Arm1 Capacitive Sensor:
Home SMP: |  |  |  | Arm1 Obstacle Sensor:
Arm1 Home X:
Arm1 Home Y:
Post - Calibration
Arm 1 Positions Panel |  | X |  | Y
Reagent R1
Reagent R2
Washing:
Cuvette Wheel:
Sample Cup:
Sample Tube:
Empty:
Wait:
Cuvette Wheel Cuvette No. 1:
Diluter Positions
Absolute Position: |  |  |  | Relative Position:
Temperature Control Panel
Reaction Temperature: |  |  |  | Reagent Disk Temperature:
External Reading:
Reading Test Panel
340nm Filter: |  |  |  | 578nm Filter:
405nm Filter |  |  |  | 630nm Filter:
492nm Filter: |  |  |  | 700nm Filter:
505nm Filter: |  |  |  | OFFSET:
546nm Filter: |  |  |  | Cuvette Wheel Cuvette No. 1:
Washing Station Panel |  | X |  | Y
Cuvette No. 1 Position:
Exempt Pumps: |  |  |  | Aspiration Pumps:
First Dispension Time:
Sensors
Cover: |  |  |  | Arm1 Home Diluter:
Home RGT: |  |  |  | Arm1 Capacitive Sensor:
Home SMP: |  |  |  | Arm1 Obstacle Sensor:
Arm1 Home X:
Arm1 Home Y:
Remarks
Performed by: | [5 empty] | Noted by:
0 | [5 empty] | Engr. Cris Ian H. Montero
Service Engineer | [5 empty] | Technical Manager
Optical Data
Certificate Number:
0
Pre - Calibration
Gain Value: |  |  |  | Remarks: | Fail
Real-Time 340nm Abs.: |  |  |  | Remarks: | Fail
Real-Time OFFSET Abs.: |  |  |  | Remarks: | Fail
| No. | Filter | Gain |  | Factory Gain | Remarks
| 1 | 340 |  |  |  | #DIV/0!
| 2 | 405 |  |  |  | #DIV/0!
| 3 | 492 |  |  |  | #DIV/0!
| 4 | 505 |  |  |  | #DIV/0!
| 5 | 546 |  |  |  | #DIV/0!
| 6 | 578 |  |  |  | #DIV/0!
| 7 | 630 |  |  |  | #DIV/0!
| 8 | 700 |  |  |  | #DIV/0!
| 9 | OFFSET |  |  |  | #DIV/0!
Post - Calibration
Gain Value: |  |  |  | Remarks: | Fail
Real-Time 340nm Abs.: |  |  |  | Remarks: | Fail
Real-Time OFFSET Abs.: |  |  |  | Remarks: | Fail
| No. | Filter | Gain |  | Factory Gain | Remarks
| 1 | 340 |  |  |  | #DIV/0!
| 2 | 405 |  |  |  | #DIV/0!
| 3 | 492 |  |  |  | #DIV/0!
| 4 | 505 |  |  |  | #DIV/0!
| 5 | 546 |  |  |  | #DIV/0!
| 6 | 578 |  |  |  | #DIV/0!
| 7 | 630 |  |  |  | #DIV/0!
| 8 | 700 |  |  |  | #DIV/0!
| 9 | OFFSET |  |  |  | #DIV/0!
Remarks
Performed by: | [5 empty] | Noted by:
0 | [5 empty] | Engr. Cris Ian H. Montero
Service Engineer | [5 empty] | Technical Manager
Note on C5: CERT NUMBER
Note on J5: Date Here!
Note on C31: Pass or Fail
Note on I31: Pass or Fail
Note on C32: REMARKS!