## Blank Template
A L T A M E D I C A I N C O R P O R A T E D Medical Products You Can Trust!
CERTIFICATE OF CALIBRATION
Certificate Number: |  |  |  |  | Date:
Performed by:
Company Name: | Altamedica Incorporated
Address: | 2nd Floor Masonic Temple Bldg. J.M. Basa Street, Iloilo City
Contact Number: | Tel#: (033) 508 0208 / (033) 333 1769, Fax#: (033) 508 0208
Customer:
Company Name:
Address:
Contact Number:
Equipment:
Equipment: |  |  |  | Manufacturer:
Model: |  |  |  | Manufacture Date:
Serial Number: |  |  |  | Distributor:
As received: |  |  |  | As Released:
Test Condition:
Room Temperature: |  |  |  | Relative Humidity:
Performed at:
Methods and Materials:
Method(s): | Water Blank Method
Procedure(s): | Semi Automated Chemistry Analyzer Work Instruction Manual
Material(s) used: | Description |  |  | Serial Number / Lot Number |  | Expiry
| Fluke 51-2 Thermometer |  |  | 36370220WS |  | N/A
500ul Pipette
Linear Human Multisera Control - N
Linear Human Multisera Control - A
Calibration Result:
Calibration Date: |  |  |  | Calibration Due:
Mechanical |  |  |  | Optical:
Conditions/Analysis:
This report may not be reproduced, except in full, without the written approval of the Technical Manager. The results reported herein apply only to the calibration of the item described above, and no limitations of use apply to the calibrated unit. Although the calibrated item meets the specifications and performance at the time of calibration, due to any number of factors, the recommended due date of the item calibrated does not imply continuing confidence to specifications during the recommended interval.
Performed by: |  |  |  |  | Noted by:
Engr. Cris Ian H. Montero
Service Engineer |  |  |  |  | Technical Manager
Mechanical & Optical Data
Certificate Number:
Pre - Calibration
Temperature
System Temperature: |  | Measured Temperature: |  |  | Remarks: |  | Pass
Aspiration Volume
Aspiration Volume: |  | Actual Aspiration Volume: |  |  | Remarks: |  | Pass
Absorbance Deviation
| Flilter Number |  | Wavelength | AD ≥1600 | Remarks
| 1 |  | 340 |  | Fail
| 2 |  | 405 |  | Fail
| 3 |  | 500 |  | Fail
| 4 |  | 546 |  | Fail
| 5 |  | 578 |  | Fail
| 6 |  | 620 |  | Fail
| 7 |  | 670 |  | Fail
Post - Calibration
Temperature
System Temperature: |  |  | Measured Temperature: |  | Remarks: |  | Pass
Aspiration Volume
Aspiration Volume: |  |  | Actual Aspiration Volume: |  | Remarks: |  | Pass
Absorbance Deviation
| Flilter Number |  | Wavelength | AD ≥1600 | Remarks
| 1 |  | 340 |  | Fail
| 2 |  | 405 |  | Fail
| 3 |  | 500 |  | Fail
| 4 |  | 546 |  | Fail
| 5 |  | 578 |  | Fail
| 6 |  | 620 |  | Fail
| 7 |  | 670 |  | Fail
Remarks
Performed by: |  |  |  |  | Noted by:
Engr. Cris Ian H. Montero
Service Engineer |  |  |  |  | Technical Manager