## Blank Template
A L T A M E D I C A I N C O R P O R A T E D Medical Products You Can Trust!
CERTIFICATE OF CALIBRATION
Certificate Number: | [7 empty] | Date:
Performed by:
Company Name: |  | Altamedica Incorporated
Address: |  | 2nd Floor Masonic Temple Bldg. J.M. Basa Street, Iloilo City
Contact Number: |  | Tel#: (033) 508 0208 / (033) 333 1769, Fax#: (033) 508 0208
Customer:
Company Name:
Address:
Contact Number:
Equipment:
Equipment: | [5 empty] | Manufacturer:
Model: | [5 empty] | Manufacture Date:
Serial Number: | [5 empty] | Distributor:
As received: | [5 empty] | As Released:
Test Condition:
Room Temperature: | [5 empty] | Relative Humidity:
Performed at:
Methods and Materials:
Method(s): |  | Air Blanking, Quality Control
Procedure(s): |  | GEA-SAGA Work Instruction Manual
Material(s) used: |  | Description |  |  |  | Serial Number / Lot Number |  |  | Expiry
Calibration Result:
Calibration Date: | [5 empty] | Calibration Due:
Conditions/Analysis:
This report may not be reproduced, except in full, without the written approval of the Technical Manager. The results reported herein apply only to the calibration of the item described above, and no limitations of use apply to the calibrated unit. Although the calibrated item meets the specifications and performance at the time of calibration, due to any number of factors, the recommended due date of the item calibrated does not imply continuing confidence to specifications during the recommended interval.
Performed by: | [7 empty] | Noted by:
Engr. Cris Ian H. Montero
Service Engineer | [7 empty] | Technical Manager
Calibration Data
Certificate Number:
0
Standard Test Weights Used
Nominal Value |  | Code |  | Conventional Mass |  |  | MPE |  | Uncertainty
Results
Span Weighing Test |  |  |  |  | Eccentricity Test (Lt ≥ Max/3)
Trials | As Received |  | After Adjustment |  | Position | Indication |  |  | Error
1 |  |  |  |  | 1
2 |  |  |  |  | 2
3 |  |  |  |  | 3
Repeatability Test (0.5Max ≤ Lt ≤ Max) |  |  |  |  | 4
1 |  |  |  |  | 5
2
3 |  |  |  |  | Linearity Test
4 |  |  |  |  | Test Pts. | Nominal Mass |  | Indicated Value |  | Error
5 |  |  |  |  | 1
6 |  |  |  |  | 2
7 |  |  |  |  | 3
8 |  |  |  |  | 4
9 |  |  |  |  | 5
10
Standard Deviation: |  |  | #DIV/0!
Coefficient of Variation: |  |  | #DIV/0!
Remarks
Performed by: | [7 empty] | Noted by:
0 | [7 empty] | Engr. Cris Ian H. Montero
Service Engineer | [7 empty] | Technical Manager
Note on C5: CERT NUMBER
Note on J5: Date Here!
Note on C32: REMARKS!