## Sheet1 (2)
Item abbreviation | Full name of item | Sample type | Reagent open-vial shelf life | Test method | Reaction direction | Result accuracy | Result unit | Dominant wavelength | Sub-wavelength | Sample volume | R1 volume | R2 volume | Reaction time range | Blank time range | Correction slope | Correction intercept | Reference range | Linear range | Test mode | Number of repetitions | Sample blank or not | Calibration rule | K-factor value | R0 | Calibration repetitions | Parameter shelf life | Parameter validity period unit | Item reagent calibration type | Reagent blank or not
ALT | Alanine aminotransferase | Serum | 30 | 2-point | Decrease | 2 | U/L | 340 | 405 | 12 | 200 | 50 | 27¦33 |  | 1 | 0 | <40 | 5¦1000 | Routine | 1 | No | Linear |  | 0 | 2 | 30 | N. Expi. | Item | No
UREA | UREA | Serum | 30 | 2-point | Increase | 2 | mmol/L | 340 | 405 | 3 | 240 | 60 | 27¦33 |  | 1 | 0 | 1.7¦8.3 | 0.2¦40.0 | Routine | 1 | No | Linear |  | 0 | 2 | 30 | N. Expi. | Item | No
CHOL-Dual | Total cholesterol-Dual | Serum | 90 | 2-point EP | Increase | 2 | mmol/L | 546 | 700 | 3 | 240 | 60 | 50¦51 | 21¦22 | 1 | 0 | <5.2 | 0.1¦22.0 | Routine | 1 | No | Linear |  | 0 | 2 | 30 | N. Expi. | Item | No
CHOL-Single | Total cholesterol-Single | Serum | 30 | Endpoint method | Increase | 2 | mmol/L | 505 | 700 | 3 | 300 |  | 50¦51 |  | 1 | 0 | <5.2 | 0.1¦22.0 | Routine | 1 | No | Linear |  |  | 2 | 30 | N. Expi. | Item | No